|  | INTERNATIONAL TELECOMMUNICATION UNION TELECOMMUNICATION STANDARDIZATION SECTOR STUDY PERIOD 2025-2028 |  | SG5-Cn |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | STUDY GROUP 5 |  |  |
|  |  |  | Original: English |  |  |
| Question(s): |  | 3/5 |  | Geneva, 3-12 June 2025 |  |
| CONTRIBUTION |  |  |  |  |  |
| Source: |  | Ministry of Communications, India |  |  |  |
| Title: |  | Considerations for content of baseline text for draft new Recommendation K.calibr "Calibration for equipment for the EMF assessment" |  |  |  |
| Contact: |  | Neha Upadhyay DoT Ministry of Communications, India |  |  | Tel: +91 11 23036131 Fax: E-mail: neha.upadhyay86@gov.in |
| Contact: |  | Bhoomika Gaur TEC, DoT Ministry of Communications, India |  |  | Tel: +91 11 23323107 Fax: E-mail: bhoomika.gaur@gov.in |

| Abstract: | Calibration of equipment used in EMF measurement is very important as it ensures the accuracy and repeatability of the measurement result. With the advancements in wireless technology and availability of new frequency bands, it is crucial that the different types of EMF measuring instruments that are being used are calibrated in a standardized manner to ensure objectivity in the EMF measurement results. This documents proposes some suggestions and considerations for content of baseline text for draft new Recommendation K.calibr “Calibration for equipment for the EMF assessment” |
| --- | --- |

In the last meeting of Study Group-5 held during 17-21 June 2024 in Wroclaw, Poland, a new Work Item was created for a draft new Recommendation on K.calibr “Calibration for equipment for the EMF assessment”. India welcomes and appreciates this very important proposal as calibration of EMF measurement instruments is a very important aspect in carrying out field measurements as it ensures the accuracy and repeatability of the measurement results.

As the baseline text for this new Draft new Recommendation is still to be developed, so India proposes the following suggestions and considerations while developing the base line text for this draft new Recommendation on K.calibr. The same are attached as Annex I.

Annex I

Considerations for content of baseline text for draft new Recommendation K.calibr "Calibration for equipment for the EMF assessment"

Following are the suggestions and considerations based on which the further development of baseline text for draft new Recommendation K.calibr and further modifications to the same can be done:

- Scope of the recommendation

The scope of the recommendation should be defined that it shall be for field measurement probes only or SAR measurement systems will also be included as SAR measurement is also a type of EMF exposure assessment.

- Types of Equipment used for EMF measurement

Based on the use cases and deployment scenarios of the different wireless technologies and systems, different types of equipment are used for EMF measurement, they can be broadband measurement probes, or tunable narrowband measurement probes, decoder-based measurement systems. It may be examined and ascertained that whether different types of equipment used for EMF measurement need to be calibrated differently based on the sub-systems or modules they employ, frequency of operation and other operational factors.

- Using or referring the already existing calibration standards

IEEE standard (IEEE 1309-2013 - IEEE Standard for Calibration of Electromagnetic Field Sensors and Probes (Excluding Antennas) from 9 kHz to 40 GHz) is one of the most popular standard used for calibration of probes used in equipment for measurement of EMF. The adoption of this standard or other relevant standards as well as identifying the other requirements which can be standardized wrt calibration with the evolving technology and use cases may be considered.

- Guidance on the infrastructure for carrying out calibration

A basic requirement for the infrastructure which is required for carrying out calibration based on type of equipment may also be useful as it provides guidance in developing such infrastructure by countries.

- Parameters to be calibrated

The parameters which are to be calibrated with respect to the different equipment or parts of equipment may be indicated for guidance.

- Measurement Uncertainty and other considerations

Guidance on measurement uncertainty and other considerations related to calibrations may also be included.